INTRODUCTION

This Stormwater Pollution Prevention Plan (SWPPP) has been developed as a requirement of the General VPDES Permit for Discharges of Stormwater from Construction Activities (CGP), as defined in 9VAC25-880. The purpose of this SWPPP is to:

1) Identify potential sources of pollution that may reasonably be expected to affect the quality of storm water discharges from the construction site, and

2) To describe and ensure the implementation of practices that will be used to reduce pollutants in stormwater discharges from the construction site and to assure compliance with the conditions of the Permit.

Implementation of the components of this SWPPP is required as a condition of the CGP (Tab 17).

The CGP has a fixed term of 5 years from the effective date of July 1, 2024, and permit coverage is required for all VSMP land-disturbing activities as described in Article IV, Section 23.2-20 of the Prince William County Stormwater Management Code and Section 700 of the Prince William County Design and Construction Standards Manual.

The CGP authorizes the discharge of stormwater from construction activities until the expiration date or until the termination of the permit, whichever occurs first for any covered operator upon compliance with all provisions of 9VAC25-880-30. The CGP also authorizes the discharge of stormwater from offsite support activities, provided that certain conditions are met as outlined in Part I A. 2 of the CGP.  Certain non-stormwater discharges are also authorized and are described in Part I E of the CGP.

The CGP must be maintained, modified, transferred, and terminated in accordance with the Stormwater Management Program Regulations of the Prince William County and the State