THE SITE DEVELOPMENT PLAN

AND

OTHER INCORPORATED PLANS

Site Development Plan (SDP)

A Site Development Plan has been developed and approved in accordance with the requirements of the Prince William County Code, Design and Construction Standards Manual, and Administrative Procedures Manual for the project titled:

_____________________________________________________________

(Project Title)

The Site Development Plan was prepared by:

____________________________________________________________

(Consultant)

The Site Development Plan was approved on:  ________________________________

(Plan Approval Date (Perforated date on the plan))

The preconstruction meeting was held on:  ______________________________

(Date of preconstruction meeting)

Erosion and Sediment Control Plan (ESC)

An Erosion and Sediment Control (ESC) Plan was developed as a required component of the SDP and was approved as authorized by the Virginia Erosion and Sediment Control Regulations (9VAC25-875).  When properly implemented, the approved ESC plan has been determined to adequately address the following effluent limit guidelines:

- Controls the volume and velocity of stormwater runoff within the site to minimize soil erosion;

- Controls stormwater discharges, including peak flow rates and total stormwater volume, to minimize erosion at outlets and to minimize downstream channel and stream bank erosion;

- Minimizes the amount of soil exposed during the construction activity;

- Minimizes the disturbance of steep slopes;

- Minimizes sediment discharges from the site in a manner that addresses (i) the amount, frequency, intensity, and duration of precipitation, (ii)the nature of resulting stormwater runoff, and (iii) soil characteristics, including the range of soil particle sizes present on the site;

- Provides and maintains natural buffers around surface waters, directs stormwater to vegetated areas to increase sediment removal, and maximized infiltration, unless infeasible;

- Minimizes soil compaction and, unless infeasible, preserves topsoil;

- Ensures that stabilization of disturbed areas will be initiated immediately whenever any clearing, grading, or excavating, or other land-disturbing activities have permanently ceased on any portion of the site, or temporarily ceased on any portion of the site and will not resume for a period exceeding 14 days;

- Utilizes outlet structures that withdraw stormwater from the surface (i.e., above the permanent pool or wet storage water surface elevation), unless infeasible, when discharging from sediment basins or sediment traps.

The following individual(s) will implement and maintain the control measures identified in the ESC plan (if other than the Operator or Delegated Authority):

Name(s):		____________________________________

Company:		____________________________________

Stormwater Management Plan

A Stormwater Management Plan (SWM) plan was developed as a required component of the SDP and was approved as authorized by the Virginia Stormwater Management Program Regulations (9VAC25-875).

The following individual(s) will implement and maintain the control measures identified in the SWM plan (if other than the Operator or Delegated Authority):

Name(s):		____________________________________

Company:		____________________________________

Pollution Prevention Plan

A Pollution Prevention Plan sheet has been provided as a required component of the SDP and addresses many of the required elements of the Pollution Prevention Plan as required by the CGP.  The other required elements are addressed in Tab 8 of the SWPPP Binder.

The individuals responsible for implementing and maintaining the control measures identified in the Pollution Prevention Plan are listed in Tab 8.

Total Maximum Daily Load (TMDL) Requirements

All projects requiring coverage under the CGP are subject to the following requirements associated with discharges to impaired waters, surface waters with an applicable TMDL wasteload allocation established and approved prior to the term of this CGP, or exceptional waters:

- Identify the impaired water(s), approved TMDL(s), pollutants of concern, and exceptional waters identified in 9VAC25-260-30.A.3.c, when applicable;

- Provide clear direction that:

  - Permanent or temporary soil stabilization shall be applied to denuded areas within seven days after final grade is reached on any portion of the site;

  - Nutrients shall be applied in accordance with manufacturer’s recommendations or an approved nutrient management plan and shall not be applied during rainfall events; and

  - A modified inspection schedule shall be implemented in accordance with Part II G 2 a.

These requirements are addressed on the Pollution Prevention Plan sheet of the SDP and in Tab 9 of the SWPPP Binder.

The following individual(s) will implement and maintain these control measures (if other than the Operator or Delegated Authority):

Name(s):		____________________________________

Company:		____________________________________

Other Incorporated Plans

The Consultant will add language briefly describing any other plans that will be used to address the project requirements (i.e., plans for off-site borrow or disposal plans, regional stormwater management plans, etc.)

OR

	No other plans are incorporated by reference at time of plan approval.

Additional off-site areas to be used during construction:

| Location | Plan Title | Approval Date | Purpose |
| --- | --- | --- | --- |