POLLUTION PREVENTION PLAN INFORMATION

In accordance with Part II B 5 of the General VPDES Permit for Discharges of Stormwater from Construction Activities, the PPP must:

- Identify potential pollutant-generating activities and pollutants expected to be exposed to stormwater;

- Describe the location where the potential pollutant generating activity will occur, or if identified on the SDP, reference the SDP;

- Identify all authorized non-stormwater discharges that are or will be comingled with stormwater discharges from the construction activity, including any applicable support activity;

- Identify the person responsible for implementing the pollution prevention practice(s) for each pollutant generating activity, if other than the person listed as the qualified personnel;

- Describe pollution prevention procedures and practices that will be implemented to:

  - Prevent and respond to leaks, spills and other releases including (i) procedures for expeditiously stopping, containing, and cleaning up spills, leaks and other releases; and (ii) procedures for reporting leaks, spills, and other releases;

  - Prevent the discharge of spilled or leaked fuels and chemicals from vehicle fueling and maintenance activities (e.g., providing secondary containment such as spill berms, decks, spill containment pallets, providing cover where appropriate, and having spill kits readily available);

  - Prevent the discharge of soaps, detergents, solvents, and wash water from construction materials, including the cleanup of stucco, paint, form release oils, and curing compounds (e.g., providing (i) cover (e.g., plastic sheeting or temporary roofs) to prevent contact with stormwater; (ii) collection and proper disposal in a manner to contact with stormwater; and (iii) a similarly effective means designed to prevent discharge of these pollutants;

  - Minimize the discharge of pollutants from equipment and vehicle washing, wheel wash water, and other types of washing (e.g., locating activities away from surface waters and stormwater inlets or conveyance and directing wash waters to sediment basins/traps, using filtration devices such as filter bags or sand filters or using similarly effective controls);

  - Direct concrete wash water into a leak-proof container or leak-proof settling basin.  The container or basin must be designed so that no overflows can occur due to inadequate sizing or precipitation.  Hardened concrete wastes must be removed and disposed of in a manner consistent with the handling of other construction wastes.  Liquid concrete wastes must be removed and disposed of in a manner consistent with the handling of other construction wash waters and shall not be discharged to surface waters;

  - Minimize the discharge of pollutants from storage, handling, and disposal of construction products, materials, and wastes, including (i) building products such as asphalt sealants, copper flashing, roofing materials, adhesives, concrete admixtures; (ii) pesticides, herbicides, insecticides, fertilizers, and landscape materials; and (iii) construction and domestic wastes such as packaging materials, scrap construction materials, masonry products, timber, pipe and electrical cuttings, plastics, styrofoam, concrete, and other trash or building materials;

  - Prevent discharges of fuels, oils, and other petroleum products, hazardous or toxic waste, and sanitary wastes; and

  - Address any other discharges from potential pollutant generating activity not addressed above.

- Describe procedures for providing pollution prevention awareness of all applicable wastes, including any wash water, disposal practices, and applicable disposal locations of such wastes, to personnel in order to comply with the conditions of the CGP.

The information required in Items 1, 2, and 4 can be found in Table 8.1 of this section of the SWPPP.

The information required in Item 3 can be found in Table 8.2 of this section of the SWPPP.

The information required in Items 5 and 6 can be found on the Pollution Prevention Plan Sheet included as a required component of the SDP.

Table 8.1 – Pollutant-Generating Activities, Potential Pollutants and Responsible Parties

| Pollutant Generating Activity | Check if Present | Potential Pollutants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Responsible Party (if other than the person(s) identified as the qualified personnel) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sediment | Nutrients, Fertilizer | Heavy Metals | pH (acids and bases) | Pesticides or Herbicides | Oil or Grease | Bacteria or Viruses | Trash, Debris or Solids | Toxic Chemicals | Paints or Plaster | Adhesives, solvents or curing compounds | Asphalt or Concrete | Vehicle or heavy equipment wash water | Gasoline, diesel or kerosene | Wood preservatives | Antifreeze or coolant |  |
| Clearing, grading or excavating |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Paving operations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Concrete washout and concrete waste disposal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Structure construction, stucco, painting or cleaning |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dewatering operations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Material delivery and storage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Material use during building process |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Solid waste disposal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sanitary waste disposal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Landscaping operations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Vehicle Fueling or Maintenance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other (describe) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other (describe) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other (describe) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Table 8.2 – Authorized Non-stormwater Discharges Anticipated from the Construction Activity or Support Activities

| Authorized Non-stormwater Discharges | Anticipated from the Construction Activity or support Activities (check if applicable) |
| --- | --- |
| Discharges from firefighting activities |  |
| Fire hydrant flushings |  |
| Waters used to wash vehicles or equipment where soaps, solvents, or detergents have not been used and the wash water has been filtered, settled, or similarly treated prior to discharge |  |
| Water used to control dust that has been filtered, settled, or similarly treated prior to discharge |  |
| Potable water sources, including uncontaminated waterline flushings |  |
| Routine external building wash down where soaps, solvents, or detergents have not been used and the wash water has been filtered, settled, or similarly treated prior to discharge |  |
| Pavement wash waters where spills or leaks of toxic or hazardous materials have not occurrs (or where all spilled or leaked material has been removed prior to washing); where soaps, solvents, or detergents have not been used; and where the wash water has been filtered, settled, or similarly treated prior to discharge |  |
| Uncontaminated air conditioning or compressor condensate |  |
| Uncontaminated ground water or spring water |  |
| Foundation or footing drains where flows are not contaminated with process materials such as solvents |  |
| Uncontaminated excavation dewatering, including dewatering of trenches and excavations that have been filtered, settled, or similarly treated prior to discharge |  |
| Landscape irrigation |  |